## Slide 1: Ladder and Stair Safety
Draft 8 31 2023
An orchard ladder
Notes: Some data was complete. Some were not. Here is an example of an incomplete one.
Accident 202601290 - Fall From Ladder
Accident 202601290 -- Report ID: 0950633 -- Event Date: 01/31/2010
Inspection: 313507899 Open: 03/10/2010 SIC: 7623 Upland Air
No injury (no jurisdiction)
Inspection Age Sex Degree Nature Occupation Construction
1 313507899 Jeff Tomsett
54 M Fatality Fracture Machinery Maintenance Occupations

## Slide 2: 2022
6 Stair Fatals and Dozens of falls.
Cell Phones
Carrying Objects
Use Handrails
Do you have a Tool Box Talk on these Three Issues?

## Slide 3: May 2017

## Slide 4: May 2022

## Slide 5: May 2022

## Slide 6: April 2019

## Slide 7: April 2019

## Slide 8: Transitions

## Slide 9: Stairways
Free of nails
No slippery conditions
1926.1052(a)(6)&(7)

## Slide 10: Stairways
Pan stairs filled
Full length and depth
1926.1052(b)(1)&(3)

## Slide 11: Obstructions

## Slide 12: Stairways
Four or more risers
Stair rail
Hand rail
1926.1052(c)(1)(i)-(iii)

## Slide 13: Stairways
The height of stairrails shall be not less than 36 inches
1926.1052(c)(3)(i)&(ii)

## Slide 14: Stairways
Midrails are required
1926.1052(c)(4)(i)

## Slide 15: Stairways
Handrails 30-37 inches
If the top rail is both a stairrail and handrail then it is 36-37 inches
1926.1052(c)(6)&(7)

## Slide 16: Stairways
Smooth rails
1926.1052(c)(8)

## Slide 17: Stairways
Handrails that will not be a permanent part of the structure being built shall have a minimum clearance of 3 inches between the handrail and walls,
1926.1052(c)(8)

## Slide 18: Stairways
Stairway landings have guardrails
1926.1052(c)(12)

## Slide 19: Crossovers
Manny Commercial solutions are available.

## Slide 20: Questions